**Checklist for Feasibility/Other Study**

|  |  |  |  |
| --- | --- | --- | --- |
| **µwgK bs** | **cÖwZcv`¨ welq** | **eY©bv/bgybv** | **gšÍe¨** |
| 01 | f‚wgKv | mdU& Kwc/wWwcwc | hw` \_v‡K |
| 02 | cUf‚wg | mdU& Kwc/wWwcwc | hw` \_v‡K |
| 03 | b¨vh¨Zv cÖwZcv`b/cÖKí iƒc‡iLv | gš¿Yvj‡qi wPwV/wgwUs‡qi Kwc | cÖ‡qvRb |
| 04 | cÖK‡íi eZ©gvb Ae¯’v | mdU& Kwc/wWwcwc | hw` \_v‡K |
| 05 | cÖK‡íi AeKvVv‡gvMZ eY©bv | ‡Uwej-1 `ªóe¨ | Avc‡WU Kwc hw` \_v‡K |
| 06 | A\_©‰bwZK g~j¨vqb | ‡Uwej-2 `ªóe¨ | ‡Rvev‡qi m¨vi |
| 07 | cwiwkó | 1. gš¿Yvj‡qi wPwV 2. ÷ªvKPvivj wWRvBb 3. AvwK©‡UKPvivj wWRvBb 4. ev‡RU wW‡UBjm (‡Rvev‡qi m¨vi) | Avc‡WU Kwc hw` \_v‡K |
| 08 | d‡Uv | 1. cÖK‡íi eZ©gvb Ae¯’v - 10 2. ewnivsMb - 5 3. Avf¨šÍixb Ae¯’v (hw` \_v‡K) - 5 4. bZzb cÖK‡íi m¤¢ve¨ ¯’vb (¸Mj g¨vc) 5. **AviGwc (cybe©vmb) Gi m¤¢ve¨ ¯’vb (cÖ‡hvR¨ †ÿ‡Î) - 5/10** 6. **e½eÜz-I RvZxq ‡bZv‡`i ¯§„wZ weRwoZ †Kvb Qwe (cÖ‡hvR¨ †ÿ‡Î) - 5** |  |

|  |  |  |
| --- | --- | --- |
| **‡Uwej-1** | | |
| Building Type | : | Non-Residential |
| Building Category | : | Special |
| Type of Structure | : | RCC Frame Structure with 1:1.25:2.5 Concrete (Stone Chips) |
| Foundation For | : | 11-Storey (including 2-Basement) |
| Foundation Type | : | Pile Foundation |
| Basis of Estimate | : | PWD Schedule of Rates and Market Price |
| To Be Constructed | : | 11-Storey (including 2-Basement) |
| Plinth Area | : | 604277.00 Sft / 56138.70 Sqm |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **‡Uwej-2** | | | | |
| **Abstract of Cost** | | | | |
| **Sl No.** | **Description of Items** | **Unit** | **Area (Sqm)** | **Estimated Cost in Taka** |
| 01 | Construction of Library Building | Sqm | 66571.72 | Tk 3409210075.94 |
| 02 | Residential Building | Sqm | 1687.21 | Tk 69401665.67 |
| 03 | Under Ground Water Reservoir | Gal | 100000 | Tk 7700000.00 |
| 04 | Sinking of 6-inch deep Tube Well | Job | 1.00 | Tk 9302042.06 |
| 05 | External Electrification | Job | 27.00 | Tk 66930000.00 |
| 06 | Steel Structure Building | Sqm | 5273.13 | Tk 175956000.00 |
| 07 | Approach Road | Sqm | 929.02 | Tk 2554812.34 |
| 08 | Construction of Compound Drain | Rm | 273.59 | Tk 1335409.47 |
| 09 | Construction of Boundary Wall | Rm | 502.90 | Tk 14013651.03 |
| 10 | Construction of Guard Shed | Job | 1.00 | Tk 500000.00 |
| 11 | Supplying of Furniture | Nos | 5499.00 | Tk 147479630.00 |
| 12 | Soil Investigation | Job | 1.00 | Tk 2500000.00 |
| 13 | Testing of Materials | Job | 1.00 | Tk 1000000.00 |
| 14 | Arboriculture/Land Scaping | Job | 1.00 | Tk 5000000.00 |
| **Grand Total** | | | | **Tk 4513297272.53** |
| **In Words:** Forty-Five Thousand One Hundred Thirty-Two Point Nine Seven Lac only | | | | |